Introduction:

VISA

- Types: USB, Ethernet, GPIB, …

- Address: NI MAX, PyVisa,…

Qcodes structure (QCoDeS = Copenhagen, Delft, Sydney)

- Station (config, qcodes driver and VISA address)

- Load instrument (print_readable_snapshot() to see parameters)

- Database (.db) file (SQL)

- Experiment

- Qcodes parameter (get_cmd, set_cmd step, interdelay) (nex time)

- do1d, do2d

- plottr (live plotting, quick viewing)

- Qcodes Monitor (command: python -m qcodes.monitor.monitor) (nex time)

- Dataset (plotting, extracting data, snapshots… from .db file) (nex time)

Installation:

Qcodes installation:

- Run the following lines in the conda prompt (Reference)
- conda create -n qcodes python=3.9 (Note: 3.10 is also fine)
- conda activate qcodes
- pip install qcodes

Plottr installation (Reference_1, Reference_2):

- Run the following lines in the conda prompt
- conda activate qcodes
- pip install plottr==0.13.0 (or 0.14.0)
- pip install pyqt5

- Run the following command to show the plottr interface in the conda prompt
- conda activate qcodes
- plottr-inspectr